REGULAR MEETING OF SUPERVISORS

RANGER DRAINAGE DISTRICT

JANUARY 11, 2023

The regular meeting of the Ranger Drainage District was held on January 11, 2023, at 6:00 P.M. at the District office located at 19950 Nugent Street, Orlando Florida 32833.  Present were Supervisors Dave Mauck, Russ Beyersdorf and Mike Nolan. Also present were Consultants, Wilson Way and Seth Behn. There was 1 landowner in attendance.

CONSENT AGENDA

Treasurer’s report, Regular Meeting minutes of December 7, 2023; driveway permits, and “other” permits were approved as submitted.  The disbursements were authorized.

VACATE REQUEST – PEABODY STREET, James Dunkelberger

Vacate request 30’ Drainage Easement Vacate along the south side of the West 180’ Tract 103. Unit 2A Peabody. The homeowner is now required to submit their request to Orange County for the final approval and recording.

POWERLINE EASEMENT CLEANUP BEHIND HOMES ON NEWBY STREET

OUC has completed clean out of the easements behind the homes north of Newby Street to allow for better drainage.

UNPERMITTED PIPE – CANAL 1

An unpermitted/illegal pipe was installed from the residence back yard at 20773 Starry Street into Canal 1.  District Legal Counsel notified the homeowner that the pipe must be removed.

To the east of this address at 20801 Starry St. a similar situation.  The homeowner has constructed a ditch leading out to the secondary easement to the north and also impacts another lot.  Legal Counsel will send a letter to the homeowner at 20801 Starry St. and the owner of lot 89 on Sheldon St.( PPM Capital) notifying them that the ditch that was dug will be filled in by the District and no future drainage can impact the secondary easement directly.  All storm

+water must drain to the street, through the front swale to the easement which allows the water to filter out before entering into the major canals.

There being no further business the meeting was adjourned at 7:23 P.M.